## Completion certificate
Name | Unit | Rate with VAT | Quantity in contract | Quantity in certificate | Accepted quantity | Quantity to accept | Amount in contract with VAT | Amount in certificate with VAT | Accepted amount with VAT | Amount to accept with VAT
Radovi | [6 empty] | 163621.43 | 33469.12 | 33469.12 | 0
BETONSKI I ARMIRANO BETONSKI RADOVI | [6 empty] | 23639.28 | 13839.96 | 13839.96 | 0
BETONIRANJE NAGLAVNIH GREDA I PLOČA | [6 empty] | 20400.08 | 10395.26 | 10395.26 | 0
Nabavka materijala i izrada AB naglavnih greda i ploča iznad šipova od betona C35/45 debljine 100cm,120cm i 156cm u rubnoj oplati sa razupiranjem. A) debljina ploče d=100cm | m³ | 42 | 298.15 | 132.14 | 132.14 | 0 | 12522.3 | 5549.88 | 5549.88 | 0
Nabavka materijala i izrada AB naglavnih greda i ploča iznad šipova od betona C35/45 debljine 100cm,120cm i 156cm u rubnoj oplati sa razupiranjem. B) debljina ploče d=120cm | m³ | 38 | 207.31 | 127.51 | 127.51 | 0 | 7877.78 | 4845.38 | 4845.38 | 0
BETONIRANJE PODLOŽNOG BETONA | [6 empty] | 2800 | 3005.5 | 3005.5 | 0
Nabavka materijala i izrada podložnog betona na tlu od betona C16/20, debljine 6cm, preko sloja zbijenog šljunčanog nasipa, sa obradom gornje površine zaribavanjem, oblika prema detaljima iz plana oplate, sa rubnom oplatom po gabaritima naglavnih greda i naglavnih ploča. A) podložni beton ispod naglavnih greda i ploča | m² | 5 | 560 | 601.1 | 601.1 | 0 | 2800 | 3005.5 | 3005.5 | 0
BETONIRANJE JAMA LIFTOVA | [6 empty] | 439.2 | 439.2 | 439.2 | 0
Nabavka materijala i izrada AB temeljnih ploča jama liftova u sklopu naglavnih greda oko liftova od betona C35/45 debljine 30cm. | m³ | 72 | 6.1 | 6.1 | 6.1 | 0 | 439.2 | 439.2 | 439.2 | 0
POPUST | [6 empty] | -11597.61 | -683.04 | -683.04 | 0
POPUST | [6 empty] | -11597.61 | -683.04 | -683.04 | 0
POPUST 2% |  | -5798.81 | 2 | 0.12 | 0.12 | 0 | -11597.61 | -683.04 | -683.04 | 0
ARMIRAČKI RADOVI | [6 empty] | 151579.76 | 20312.21 | 20312.21 | 0
ARMATURNE ŠIPKE | [6 empty] | 151579.76 | 20312.21 | 20312.21 | 0
Nabavka, transport, ispravljanje, sečenje, savijanje i montaža rebraste armature B500B (EN 10080), oblika, rasporeda i dimenzija prema armaturnim nacrtima. | kg | 0.3 | 505265.88 | 67707.35 | 67707.35 | 0 | 151579.76 | 20312.21 | 20312.21 | 0
RADOVI PO PONUDI | [6 empty] | 4232 | 4232 | 4232 | 0
Izvođenje radova po zahtevu Naručioca | h | 11.5 | 368 | 368 | 368 | 0 | 4232 | 4232 | 4232 | 0

## Position to accept
Name | Unit | Rate with VAT | Quantity to accept | Amount to accept with VAT